City of Carmel, Utilities

30 W Main St, Ste 220, Carmel, IN  46032

### F.O.G. Control & Pretreatment Program

### -Facility Inspection & Compliance Checklist-

Inspector:_______________________________	 Establishment:______________________________________

Signature:_______________________________	 Address:_____________________________________________

Date:____________________________________	Contact Name:_______________________________________

Previous Inspection:____________________ 	Signature:____________________________________________

| Item Number | Item Description | Field Data (where appropriate) | Compliance Status* |
| --- | --- | --- | --- |
| 1. | The establishment complies with proper BMPs. |  |  |
| 2. | The establishment recycles waste cooking oil, and can provide records (Where applicable). |  |  |
| 3. | The water temperatures at all sinks are less than 140F. (Measure and record) |  |  |
| 4. | Food waste is disposed of by solid waste removal. |  |  |
| 5. | Sinks and floor drains are properly protected with screens/grates and show no signs of F.O.G. buildup. |  |  |
| 6. | Grease trap(s) or interceptor is cleaned regularly. (Note and record frequency) |  |  |
| 7. | Cleaning frequency is properly documented on a maintenance log. |  |  |
| 8. | Contents of device do not exceed 25% rule. (Estimate or measure and record) |  |  |
| 9. | Structural integrity of device and connections is upheld. (Lid seals w/o caulk) |  |  |
| 10. | Storm drains, ditches, and retention ponds show no signs of F.O.G discharge. |  |  |
| 11. | Outdoor grease and oil storage containers show no signs of overflow. |  |  |
| 12. | Downstream sanitary sewers show no signs of excessive F.O.G. discharge. |  |  |

| Notes |  |
| --- | --- |

* An entry for compliance status should be made for each item using the following codes:

- “C” – Compliance with the item

- “V” – Violation of the item (provide explanation in the notes)

- “NA” – Not applicable (provide explanation in the notes)

- “NC” – Not checked (provide explanation in the notes)

| Violations | 1st Occurrence | 2nd Occurrence | 3rd Occurrence |
| --- | --- | --- | --- |
| Inspection Hindrance | Tier I | Tier II | Tier III |
| Incomplete Records | Tier I | Tier II | Tier III |
| Violation of Proper BMP Activities | Tier II | Tier III | Tier IV |
| Failure to Clean Trap or Interceptor | Tier III | Tier IV | Tier V |
| Evidence of Illicit Discharge | Tier IV | Tier V | Tier VI |
| Source of Sewer Stoppage | Tier V | Tier VI |  |
| Stoppage Resulting in SSO | Tier VI |  |  |

| Levels | Enforcement Actions |
| --- | --- |
| Tier I | Notice of Deficiency / Notice to Correct – No Civil Penalty Assessed |
| Tier II* | Notice of Violation – Civil Penalty of $50 in addition to Re-Inspection Fee |
| Tier III* | Notice of Violation – Civil Penalty of $100 in addition to Re-Inspection Fee |
| Tier IV* | Notice of Violation – Civil Penalty of $250 in addition to Re-Inspection Fee |
| Tier V* | Notice of Violation – Civil Penalty of $500 in addition to Re-Inspection Fee |
| Tier VI* | Notice of Violation – Civil Penalty of $1000 in addition to Reimbursement Costs |

*Please note: Re-inspection Fees and Reimbursement Costs are considered in addition to these penalties. Reimbursement Costs are developed on a case-by-case basis.